Supplemental Figure 1. Illustrative example of pedicle screw fixation within cadaveric vertebrae with dimensional measures. BH: Body height, BW: Body width, PH: Pedicle height, IA: Screw insertion angle, DPH: Distance to pedicle, AP: Anterior-posterior length of cement plume, Lat: Lateral width of cement plume, Dtp: Distance of screw tip to anterior plume, Dtd: Distance of screw tip to pedicle, Dtac: Distance to anterior cortex.

Supplemental Figure 2. Foam block testing of correlation between plume geometry and pull-out strength (nonsignificant variables).

(a) Correlation scatterplot between anterior/posterior (A/P) plume diameter, fenestrated screw design and cement type with pull-out strength (coefficient = 0.06, P = 0.73).

(b) Correlation scatterplot between plume distance from tip, fenestrated screw design and cement type with pull-out strength (coefficient = 0.126, P = 0.465).

(c) Correlation scatterplot between plume distance from head, fenestrated screw design and cement type with pull-out strength (coefficient = 0.110, P = 0.522).

Supplemental Figure 3. Vertebral tests of correlation between plume geometry and pull-out strength (nonsignificant variables).

(a) Correlation between lateral plume diameter and pull-out strength (coefficient = -0.169, P = 0.323).

(b) Correlation between plume distance from head and pull-out strength (coefficient = 0.184, P = 0.283).

(c) Correlation between distance from tip to anterior cortex and pull-out (coefficient = 0.130, P = 0.449).

(d) Correlation between distance from tip of screw to pedicle and pull-out strength (coefficient = 0.115, P = 0.505).

(e) Correlation between body height and pull-out strength (coefficient = 0.310, P = 0.066).

(f) Correlation between bone density and pull-out strength (coefficient = 0.021, P = 0.905).

(g) Correlation between pedicle height and pull-out strength (coefficient = 0.21, P = 0.219).